## WS_Break
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 120 | 120 | 90 | 90
Projector | 1 | 350 | [5 empty] | 120 | 120 | 90 | 90
Computer | 20 | 550 | [5 empty] | 120 | 120 | 90 | 90
Monitor | 20 | 120 | [5 empty] | 120 | 120 | 90 | 90
Laptop | 1 | 60 | [5 empty] | 120 | 120 | 90 | 90
Mobile | 1 | 20 | [5 empty] | 60 |  | 30

## WS_Autumn
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 250 | 110 | 90 | 60
Projector | 1 | 350 | [5 empty] | 315 | 135 | 90 | 90
Computer | 20 | 550 | [5 empty] | 315 | 135 | 90 | 90
Monitor | 20 | 120 | [5 empty] | 315 | 135 | 90 | 90
Laptop | 1 | 60 | [5 empty] | 315 | 135 | 90 | 90
Mobile | 1 | 20 | [5 empty] | 60 | 60 | 30 | 30

## WS_Winter
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 315 | 135 | 90 | 90
Projector | 1 | 350 | [5 empty] | 315 | 135 | 90 | 90
Computer | 20 | 550 | [5 empty] | 315 | 135 | 90 | 90
Monitor | 20 | 120 | [5 empty] | 315 | 135 | 90 | 90
Laptop | 1 | 60 | [5 empty] | 315 | 135 | 90 | 90
Mobile | 1 | 20 | [5 empty] | 60 | 60 | 30 | 30

## WS_Exam
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 180 |  | 90
Projector | 1 | 350
Computer | 20 | 550
Monitor | 20 | 120
Laptop | 1 | 60 | [5 empty] | 180 |  | 90
Mobile | 1 | 20 | [5 empty] | 60 |  | 30

## SS_Break
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 75 | 75 | 30 | 30
Projector | 1 | 350 | [5 empty] | 120 | 120 | 90 | 90
Computer | 20 | 550 | [5 empty] | 120 | 120 | 90 | 90
Monitor | 20 | 120 | [5 empty] | 120 | 120 | 90 | 90
Laptop | 1 | 60 | [5 empty] | 120 | 120 | 90 | 90
Mobile | 1 | 20 | [5 empty] | 60 |  | 30

## SS_Spring
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 200 | 75 | 90 | 30
Projector | 1 | 350 | [5 empty] | 315 | 135 | 90 | 90
Computer | 20 | 550 | [5 empty] | 315 | 135 | 90 | 90
Monitor | 20 | 120 | [5 empty] | 315 | 135 | 90 | 90
Laptop | 1 | 60 | [5 empty] | 315 | 135 | 90 | 90
Mobile | 1 | 20 | [5 empty] | 60 | 60 | 30 | 30

## SS_Summer
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 150 | 60 | 90 | 30
Projector | 1 | 350 | [5 empty] | 315 | 135 | 90 | 90
Computer | 20 | 550 | [5 empty] | 315 | 135 | 90 | 90
Monitor | 20 | 120 | [5 empty] | 315 | 135 | 90 | 90
Laptop | 1 | 60 | [5 empty] | 315 | 135 | 90 | 90
Mobile | 1 | 20 | [5 empty] | 60 | 60 | 30 | 30

## SS_Exam
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 90 |  | 90
Projector | 1 | 350
Computer | 20 | 550
Monitor | 20 | 120
Laptop | 1 | 60 | [5 empty] | 180 |  | 90
Mobile | 1 | 20 | [5 empty] | 60 |  | 30