## WS_Break
Devices/Load | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 10 | 36
Computer | 1 | 350
Monitor | 1 | 120
Basic | 1 | 200 | [5 empty] | 1440 | 1440 | 1440 | 1440
Experiment_1 | 1 | 25000
Experiment_2 | 1 | 2500
Experiment_3 | 1 | 1000
Project | 1

## WS_Autumn
Devices/Load | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 10 | 36 | [5 empty] | 120 |  | 60
Computer | 1 | 350
Monitor | 1 | 120
Basic | 1 | 200 | [5 empty] | 1440 | 1440 | 1440 | 1440
Experiment_1 | 1 | 25000
Experiment_2 | 1 | 2500
Experiment_3 | 1 | 1000 | [5 empty] | 120 |  | 60
Project | 1

## WS_Winter
Devices/Load | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 10 | 36 | [5 empty] | 150 |  | 60
Computer | 1 | 350
Monitor | 1 | 120
Basic | 1 | 200 | [5 empty] | 1440 | 1440 | 1440 | 1440
Experiment_1 | 1 | 25000
Experiment_2 | 1 | 2500 | [5 empty] | 120 |  | 60
Experiment_3 | 1 | 1000 | [5 empty] | 120 |  | 60
Project | 1

## WS_Exam
Devices/Load | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 10 | 36
Computer | 1 | 350
Monitor | 1 | 120
Basic | 1 | 200 | [5 empty] | 1440 | 1440 | 1440 | 1440
Experiment_1 | 1 | 25000
Experiment_2 | 1 | 2500
Experiment_3 | 1 | 1000
Project | 1

## SS_Break
Devices/Load | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 10 | 36
Computer | 1 | 350
Monitor | 1 | 120
Basic | 1 | 200 | [5 empty] | 1440 | 1440 | 1440 | 1440
Experiment_1 | 1 | 25000
Experiment_2 | 1 | 2500
Experiment_3 | 1 | 1000
Project | 1

## SS_Spring
Devices/Load | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 10 | 36 | [5 empty] | 120 |  | 60
Computer | 1 | 350 | [5 empty] | 150 |  | 150
Monitor | 1 | 120 | [5 empty] | 150 |  | 150
Basic | 1 | 200 | [5 empty] | 1440 | 1440 | 1440 | 1440
Experiment_1 | 1 | 25000 | 15 |  | 7500 | 135 |  | 150 |  | 150
Experiment_2 | 1 | 2500
Experiment_3 | 1 | 1000 | [5 empty] | 120 |  | 60
Project | 1

## SS_Summer
Devices/Load | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 10 | 36 | [5 empty] | 120 |  | 60
Computer | 1 | 350 | [5 empty] | 150 |  | 150
Monitor | 1 | 120 | [5 empty] | 150 |  | 150
Basic | 1 | 200 | [5 empty] | 1440 | 1440 | 1440 | 1440
Experiment_1 | 1 | 25000 | 15 |  | 7500 | 135 |  | 150 |  | 150
Experiment_2 | 1 | 2500
Experiment_3 | 1 | 1000 | [5 empty] | 120 |  | 60
Project | 1

## SS_Exam
Devices/Load | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 10 | 36
Computer | 1 | 350
Monitor | 1 | 120
Basic | 1 | 200 | [5 empty] | 1440 | 1440 | 1440 | 1440
Experiment_1 | 1 | 25000
Experiment_2 | 1 | 2500
Experiment_3 | 1 | 1000
Project | 1