## WS_Break
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 120 |  | 90
Projector | 1 | 350 | [5 empty] | 120 |  | 90
Computer | 20 | 550 |  |  | 50 |  |  | 120 |  | 90
Monitor | 20 | 120 |  |  | 10 |  |  | 120 |  | 90
Laptop | 1 | 60 |  |  | 30 |  |  | 120 |  | 90
Mobile | 1 | 20 | [5 empty] | 60 |  | 30

## WS_Autumn
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 184 |  | 90
Projector | 1 | 350 | [5 empty] | 230 |  | 90
Computer | 20 | 550 |  |  | 50 |  |  | 230 |  | 90
Monitor | 20 | 120 |  |  | 10 |  |  | 230 |  | 90
Laptop | 1 | 60 |  |  | 30 |  |  | 230 |  | 90
Mobile | 1 | 20 | [5 empty] | 60 |  | 30

## WS_Winter
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 230 |  | 90
Projector | 1 | 350 | [5 empty] | 230 |  | 90
Computer | 20 | 550 |  |  | 50 |  |  | 230 |  | 90
Monitor | 20 | 120 |  |  | 10 |  |  | 230 |  | 90
Laptop | 1 | 60 |  |  | 30 |  |  | 230 |  | 90
Mobile | 1 | 20 | [5 empty] | 60 |  | 30

## WS_Exam
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36
Projector | 1 | 350
Computer | 20 | 550 |  |  | 50
Monitor | 20 | 120 |  |  | 10
Laptop | 1 | 60 |  |  | 30
Mobile | 1 | 20

## SS_Break
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 90 |  | 90
Projector | 1 | 350 | [5 empty] | 120 |  | 90
Computer | 20 | 550 |  |  | 50 |  |  | 120 |  | 90
Monitor | 20 | 120 |  |  | 10 |  |  | 120 |  | 90
Laptop | 1 | 60 |  |  | 30 |  |  | 120 |  | 90
Mobile | 1 | 20 | [5 empty] | 60 |  | 30

## SS_Spring
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 145 |  | 90
Projector | 1 | 350 | [5 empty] | 230 |  | 90
Computer | 20 | 550 |  |  | 50 |  |  | 230 |  | 90
Monitor | 20 | 120 |  |  | 10 |  |  | 230 |  | 90
Laptop | 1 | 60 |  |  | 30 |  |  | 230 |  | 90
Mobile | 1 | 20 | [5 empty] | 60 |  | 30

## SS_Summer
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36 | [5 empty] | 115 |  | 90
Projector | 1 | 350 | [5 empty] | 230 |  | 90
Computer | 20 | 550 |  |  | 50 |  |  | 315 |  | 90
Monitor | 20 | 120 |  |  | 10 |  |  | 315 |  | 90
Laptop | 1 | 60 |  |  | 30 |  |  | 315 |  | 90
Mobile | 1 | 20 | [5 empty] | 60 |  | 30

## SS_Exam
Devices | Number | AP (W) | APT-WD (mins) | APT-WE (mins) | SP (W) | SPT-WD (mins) | SPT-WE (mins) | FT-WD (mins) | FT-WE (mins) | MT-WD (mins) | MT-WE (mins)
Light | 11 | 36
Projector | 1 | 350
Computer | 20 | 550 |  |  | 50
Monitor | 20 | 120 |  |  | 10
Laptop | 1 | 60 |  |  | 30
Mobile | 1 | 20